## SOP front Sheet
Page 1/1
|  |  |  | Research Facilities Standard Operating Procedure (SOP) | SOP No:
Facility: | Sequencing |  |  |  | EXSQ_SOP020
Title: | Illumina Amplicon - MiFish |  |  |  | Version: 1
SOP No:
Version: | 1
Author: | Mary Buckley
Approver:
Active date:
Change log and version history
Version number | Date | Approved by | Changes implemented
Version 1
Version 2

## Protocol samples < 2.5 ngperul
|  |  | Plate 1 | plate 2
Prepared by |  |  | Bryony | Bryony
Project number |  |  | 11738 and 11569 | 11738 and 11569
Owner |  |  | Molly Kressler and MD | Molly Kressler and MD
Library preparation date |  |  | 16.06.25 | 17.06.25
Number of samples |  |  | 96 | 44
Regions to amplify |  |  | 12S | 12S
Primer set |  |  | MiFish | MiFish
Primer Forward Sequence |  |  | See folder - Mixed primers | See folder - Mixed primers
Primer Reverse Sequence |  |  | "" | ""
Positive control |  |  | Zebra Fish | Zebra Fish
Lot number of NEBNext® Ultra™ II Q5® Master Mix |  |  | 10257785 | 10257785
IDT Set |  |  | SET A A1-H12 | SET c A7-D12
IDT Plate No.
IDT Sales Order Number |  |  | 20745797 | 19142065
AMPure XP or MgNa |  |  | SPRI | SPRI
RB Used |  |  | Tris | Tris
PCR machine |  |  | Plate 1 Biorad BW | Plate 1 Biorad BW
Final library plate |  |  | 317 | 148
Where #NUM! equals < 0.01
Samples :
| Number | Name | Well | Plate | Sample ng/ul | Volume NFW | Volume for input | Final input ng
| 11738 | BRUV1_1 | A1 | MiFish 1 | 3.15 | 6.5317 | 3.9683 | 12.5
| 11738 | BRUV1_2 | B1 | MiFish 1 | 3.69 | 7.1125 | 3.3875 | 12.5
| 11738 | BRUV1_3 | C1 | MiFish 1 | 2.37 | 5.2257 | 5.2743 | 12.5
| 11738 | BRUV2_1 | D1 | MiFish 1 | 19.16 | 9.8476 | 0.6524 | 12.5
| 11738 | BRUV2_2 | E1 | MiFish 1 | 10.02 | 9.2525 | 1.2475 | 12.5
| 11738 | BRUV2_3 | F1 | MiFish 1 | 20.36 | 9.8861 | 0.61395 | 12.5
| 11738 | BRUV3_1 | G1 | MiFish 1 | 21.77 | 9.9258 | 0.57418 | 12.5
| 11738 | BRUV3_2 | H1 | MiFish 1 | 13.01 | 9.5392 | 0.9608 | 12.5
| 11738 | BRUV3_3 | A2 | MiFish 1 | 11.48 | 9.4111 | 1.0889 | 12.5
| 11738 | BRUV4_1 | B2 | MiFish 1 | 11.42 | 9.4054 | 1.0946 | 12.5
| 11738 | BRUV4_2 | C2 | MiFish 1 | 5.35 | 8.1636 | 2.3364 | 12.5
| 11738 | BRUV4_3 | D2 | MiFish 1 | 15.83 | 9.7104 | 0.78964 | 12.5
| 11738 | BRUV5_1 | E2 | MiFish 1 | 8.61 | 9.0482 | 1.4518 | 12.5
| 11738 | BRUV5_2 | F2 | MiFish 1 | 6.12 | 8.4575 | 2.0425 | 12.5
| 11738 | BRUV5_3 | G2 | MiFish 1 | 13.04 | 9.5414 | 0.95859 | 12.5
| 11738 | S1_1 | H2 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | S1_2 | A3 | MiFish 1 | 0.36 | 0 | 10.5 | 3.78
| 11738 | S1_3 | B3 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | S10_1 | C3 | MiFish 1 | 0.01 | 0 | 10.5 | 0.105
| 11738 | S10_2 | D3 | MiFish 1 | 0.06 | 0 | 10.5 | 0.63
| 11738 | S10_3 | E3 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | S11_1 | F3 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | S11_2 | G3 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | S11_3 | H3 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | S12_1 | A4 | MiFish 1 | 0.11 | 0 | 10.5 | 1.155
| 11738 | S12_2 | B4 | MiFish 1 | 0 | 0 | 10.5 | 0
| 11738 | S12_3 | C4 | MiFish 1 | 0.01 | 0 | 10.5 | 0.105
| 11738 | S13_1 | D4 | MiFish 1 | 0.41 | 0 | 10.5 | 4.305
| 11738 | S13_2 | E4 | MiFish 1 | 1.26 | 0 | 10.5 | 13.23
| 11738 | S13_3 | F4 | MiFish 1 | 0.05 | 0 | 10.5 | 0.525
| 11738 | S14_1 | G4 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | S14_2 | H4 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | S14_3 | A5 | MiFish 1 | 0.01 | 0 | 10.5 | 0.105
| 11738 | S15_1 | B5 | MiFish 1 | 0.15 | 0 | 10.5 | 1.575
| 11738 | S15_2 | C5 | MiFish 1 | 0.2 | 0 | 10.5 | 2.1
| 11738 | S15_3 | D5 | MiFish 1 | 0.66 | 0 | 10.5 | 6.93
| 11738 | S16_1 | E5 | MiFish 1 | 0.03 | 0 | 10.5 | 0.315
| 11738 | S16_2 | F5 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | S16_3 | G5 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | S2_1 | H5 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | S2_2 | A6 | MiFish 1 | 0.01 | 0 | 10.5 | 0.105
| 11738 | S2_3 | B6 | MiFish 1 | 0 | 0 | 10.5 | 0
| 11738 | S3_1 | C6 | MiFish 1 | 0.03 | 0 | 10.5 | 0.315
| 11738 | S3_2 | D6 | MiFish 1 | 0.02 | 0 | 10.5 | 0.21
| 11738 | S3_3 | E6 | MiFish 1 | 0.03 | 0 | 10.5 | 0.315
| 11738 | S4_1 | F6 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | S4_2 | G6 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | S4_3 | H6 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | S5_1 | A7 | MiFish 1 | 0.35 | 0 | 10.5 | 3.675
| 11738 | S5_2 | B7 | MiFish 1 | 0.99 | 0 | 10.5 | 10.395
| 11738 | S5_3 | C7 | MiFish 1 | 0.04 | 0 | 10.5 | 0.42
| 11738 | S6_1 | D7 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | S6_2 | E7 | MiFish 1 | 0.04 | 0 | 10.5 | 0.42
| 11738 | S6_3 | F7 | MiFish 1 | 0.01 | 0 | 10.5 | 0.105
| 11738 | S7_1 | G7 | MiFish 1 | 0.01 | 0 | 10.5 | 0.105
| 11738 | S7_2 | H7 | MiFish 1 | 0 | 0 | 10.5 | 0
| 11738 | S7_3 | A8 | MiFish 1 | 0.02 | 0 | 10.5 | 0.21
| 11738 | S8_1 | B8 | MiFish 1 | 0.22 | 0 | 10.5 | 2.31
| 11738 | S8_2 | C8 | MiFish 1 | 0.03 | 0 | 10.5 | 0.315
| 11738 | S8_3 | D8 | MiFish 1 | 0.02 | 0 | 10.5 | 0.21
| 11738 | S9_1 | E8 | MiFish 1 | 0.04 | 0 | 10.5 | 0.42
| 11738 | S9_2 | F8 | MiFish 1 | 0.09 | 0 | 10.5 | 0.945
| 11738 | S9_3 | G8 | MiFish 1 | 0.33 | 0 | 10.5 | 3.465
| 11738 | EB1 | H8 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | EB2 | A9 | MiFish 1 | 0.01 | 0 | 10.5 | 0.105
| 11738 | EB3 | B9 | MiFish 1 | 0.02 | 0 | 10.5 | 0.21
| 11738 | EB4 | C9 | MiFish 1 | 0.02 | 0 | 10.5 | 0.21
| 11738 | A0_1 | D9 | MiFish 1 | 0.01 | 0 | 10.5 | 0.105
| 11738 | A0_2 | E9 | MiFish 1 | 0 | 0 | 10.5 | 0
| 11738 | A0_3 | F9 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | A0_4 | G9 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | A1_1 | H9 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | A1_2 | A10 | MiFish 1 | 0.01 | 0 | 10.5 | 0.105
| 11738 | A1_3 | B10 | MiFish 1 | 0 | 0 | 10.5 | 0
| 11738 | A1_4 | C10 | MiFish 1 | 0 | 0 | 10.5 | 0
| 11738 | A2_1 | D10 | MiFish 1 | 0.01 | 0 | 10.5 | 0.105
| 11738 | A2_2 | E10 | MiFish 1 | 0 | 0 | 10.5 | 0
| 11738 | A2_3 | F10 | MiFish 1 | 0.01 | 0 | 10.5 | 0.105
| 11738 | A2_4 | G10 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | A4_1 | H10 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | A4_2 | A11 | MiFish 1 | 0.01 | 0 | 10.5 | 0.105
| 11738 | A4_3 | B11 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | A4_4 | C11 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | A8_1 | D11 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | A8_2 | E11 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | A8_3 | F11 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | A8_4 | G11 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | FR0_1 | H11 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | FR0_2 | A12 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | FR0_3 | B12 | MiFish 1 | 0.35 | 0 | 10.5 | 3.675
| 11738 | FR0_4 | C12 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | FR1_1 | D12 | MiFish 1 | 0.01 | 0 | 10.5 | 0.105
| 11738 | FR1_2 | E12 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | FR1_3 | F12 | MiFish 1 | #NUM! | 0 | 10.5 | 0
| 11738 | Zebra_1 | G12 | MiFish 1 | 0.3 | 0 | 10.5 | 3.15
| 11738 | Neg_1 | H12 | MiFish 1 | 0 | 10.5 | 0 | 0
| 11738 | FR2_1 | A1 | MiFish 2 | 0.02 | 0 | 10.5 | 0.21
| 11738 | FR2_2 | B1 | MiFish 2 | #NUM! | 0 | 10.5 | 0
| 11738 | FR2_3 | C1 | MiFish 2 | #NUM! | 0 | 10.5 | 0
| 11738 | FR2_4 | D1 | MiFish 2 | #NUM! | 0 | 10.5 | 0
| 11738 | FR4_1 | E1 | MiFish 2 | 0.01 | 0 | 10.5 | 0.105
| 11738 | FR4_2 | F1 | MiFish 2 | 0.04 | 0 | 10.5 | 0.42
| 11738 | FR4_3 | G1 | MiFish 2 | #NUM! | 0 | 10.5 | 0
| 11738 | FR4_4 | H1 | MiFish 2 | 0.04 | 0 | 10.5 | 0.42
| 11738 | FR8_1 | A2 | MiFish 2 | 0.01 | 0 | 10.5 | 0.105
| 11738 | FR8_2 | B2 | MiFish 2 | #NUM! | 0 | 10.5 | 0
| 11738 | FR8_3 | C2 | MiFish 2 | 0.01 | 0 | 10.5 | 0.105
| 11738 | FR8_4 | D2 | MiFish 2 | #NUM! | 0 | 10.5 | 0
| 11738 | B1 | E2 | MiFish 2 | #NUM! | 0 | 10.5 | 0
| 11738 | B2 | F2 | MiFish 2 | 0.21 | 0 | 10.5 | 2.205
| 11738 | B8 | G2 | MiFish 2 | 0.03 | 0 | 10.5 | 0.315
| 11738 | B4 | H2 | MiFish 2 | #NUM! | 0 | 10.5 | 0
| 11738 | B01 | A3 | MiFish 2 | 0.06 | 0 | 10.5 | 0.63
| 11569 | SK_V1 | B3 | MiFish 2 | 0.92 | 0 | 10.5 | 9.66
| 11569 | SK_V2 | C3 | MiFish 2 | 1.74 | 0 | 10.5 | 18.27
| 11569 | SK_V3 | D3 | MiFish 2 | 0.79 | 0 | 10.5 | 8.295
| 11569 | SK_VC | E3 | MiFish 2 | 0 | 0 | 10.5 | 0
| 11569 | SK_L1 | F3 | MiFish 2 | 0.8 | 0 | 10.5 | 8.4
| 11569 | SK_L2 | G3 | MiFish 2 | 0.54 | 0 | 10.5 | 5.67
| 11569 | SK_L3 | H3 | MiFish 2 | 0.48 | 0 | 10.5 | 5.04
| 11569 | SK_LC | A4 | MiFish 2 | 0 | 0 | 10.5 | 0
| 11569 | SK_H1 | B4 | MiFish 2 | 0.88 | 0 | 10.5 | 9.24
| 11569 | SK_H2 | C4 | MiFish 2 | 2.14 | 0 | 10.5 | 22.47
| 11569 | SK_H3 | D4 | MiFish 2 | 1.85 | 0 | 10.5 | 19.425
| 11569 | SK_HC | E4 | MiFish 2 | 0 | 0 | 10.5 | 0
| 11569 | SK_A1 | F4 | MiFish 2 | 0.88 | 0 | 10.5 | 9.24
| 11569 | SK_A2 | G4 | MiFish 2 | 0.56 | 0 | 10.5 | 5.88
| 11569 | SK_A3 | H4 | MiFish 2 | 0.61 | 0 | 10.5 | 6.405
| 11569 | SK_AC | A5 | MiFish 2 | 0.02 | 0 | 10.5 | 0.21
| 11569 | SK_F1 | B5 | MiFish 2 | 1.12 | 0 | 10.5 | 11.76
| 11569 | SK_F2 | C5 | MiFish 2 | 1.01 | 0 | 10.5 | 10.605
| 11569 | SK_F3 | D5 | MiFish 2 | 1.22 | 0 | 10.5 | 12.81
| 11569 | SK_FC | E5 | MiFish 2 | 0 | 0 | 10.5 | 0
| 11569 | SK_M1 | F5 | MiFish 2 | 1.7 | 0 | 10.5 | 17.85
| 11569 | SK_M2 | G5 | MiFish 2 | 1.57 | 0 | 10.5 | 16.485
| 11569 | SK_M3 | H5 | MiFish 2 | 1.18 | 0 | 10.5 | 12.39
| 11569 | SK_MC | A6 | MiFish 2 | 0 | 0 | 10.5 | 0
| 11738 | FR1_4 | B6 | MiFish 2 | #NUM! | 0 | 10.5 | 0
| 11738 | Zebra_2 | C6 | MiFish 2 | 0.3 | 0 | 10.5 | 3.15
| 11738 | Neg_2 | D6 | MiFish 2 | 0 | 10.5 | 0 | 0
PCR 1 :
General notes before starting :
| TRUE | Dilute primers to 100pM/ul in 1 x TE as per given values by manufacterer
| TRUE | Dilute 100pm/ul primers 20-fold to get 5pM/ul working concentration (e.g. 10 ul of 100pM/ul primer stock to 190 ul of NFW) |  |  |  |  | 30 stock : 570 NFW
| TRUE | Pool the two separate primers equimolar e.g. 1:1 volume ratio to get final working stock of primers
All numbers in ul unless stated
Create Master Mix :
|  | Add | Per Reaction Volume (uL) | Per number being processed |  |  | Add | Per Reaction Volume (uL) | Per number being processed
|  | NEBNext® Ultra™ II Q5® Master Mix | 12.5 | 1320 | x |  | NEBNext® Ultra™ II Q5® Master Mix | 12.5 | 605
|  | 5 µM F Primer | 1 | 105.6 | x |  | 5 µM F Primer | 1 | 48.4
|  | 5 µM R Primer | 1 | 105.6 | x |  | 5 µM R Primer | 1 | 48.4
| TRUE | Vortex the master mix and dispense into a clean trough or strip well |  |  |  | TRUE
| TRUE | Add 14.5 ul of master mix per reaction into appropriate number of wells |  |  |  | TRUE
| TRUE | Add 10.5 ul sample to each well |  |  |  | TRUE
| TRUE | Label each plate with project number amplicon and unique identifier e.g. plate number |  |  |  | TRUE
| TRUE | Mix either by pipetting or seal plate vortex/mix mate briefly then spin down |  |  |  | TRUE
! |  | Run on thermocycler using conditions specified by project :
|  | Step | Temperature (°C) | Time | Cycles
|  | Heat Inactivation | 98 | 3 min | 1
|  | Denaturation | 98 | 20 seconds | x20
|  | Annealing | 65 | 15 seconds
|  | Extension | 72 | 15 seconds
|  | Final Extension | 72 | 5 min | 1
|  | Hold | 4 | ∞ | 1
Cleanup 1 :
General notes before starting :
| TRUE | Make sure beads are at room temperature |  |  |  | TRUE
| TRUE | Make fresh 80% ethanol |  |  |  | TRUE
| TRUE | Ensure that there is enough of whichever resuspension solution is being used |  |  |  | TRUE
| TRUE | Check seal and well levels before unsealing and note any anomalies |  |  |  | TRUE
| TRUE | Spin plates from previous step before using |  |  |  | TRUE
plate 2
| TRUE | Vortex the beads for 30 seconds to make sure that the beads are evenly dispersed. |  |  |  | TRUE
! | TRUE | Pause and confirm bead volume of next step (specified by amplicon size) : |  |  |  | TRUE
| TRUE | Add 1.5 volume (37.5ul) of beads and mix by pipetting up and down 10 times (brief vortex plus spin is also acceptable) |  |  |  | TRUE
| TRUE | Incubate at room temperature for 5 minutes. |  |  |  | TRUE
| TRUE | Place on the magnetic stand for 5 minutes until the beads are captured and the liquid is clear. |  |  |  | TRUE
| TRUE | Carefully remove the liquid without disturbing the beads. |  |  |  | TRUE
| TRUE | With the plate on the magnetic stand gently wash the beads with 200 µl 80% ethanol. |  |  |  | TRUE
| TRUE | Incubate the plate at room temperature for 30 sec. |  |  |  | TRUE
| TRUE | Remove the ethanol carefully with a pipette and discard. |  |  |  | TRUE
| TRUE | Repeat the wash incubation and removal and ensure all the ethanol has been removed using a P20 or P10. |  |  |  | TRUE
| TRUE | Remove the plate from the magnetic stand and allow the beads to dry at room temperature for 3min. |  |  |  | TRUE
| TRUE | Resuspend the dried beads in 17.5 µl 10 mM Tris pH 8.0. |  |  |  | TRUE
| TRUE | Incubate the plate at room temperature for 2 minutes |  |  |  | TRUE
| TRUE | Place on the magnetic stand for 5 minutes until the beads are captured and the liquid is clear. |  |  |  | TRUE
| TRUE | Transfer 15ul of the supernatant to a new plate |  |  |  | TRUE
PCR 2 :
General notes before starting :
| TRUE | Check which indexes are associated with which plate |  |  |  | TRUE
All numbers in ul unless stated
Prepare plate :
| TRUE | Add 12.5 of NEBNext® Ultra™ II Q5® Master Mix to each well |  |  |  | TRUE |  | 82.5
| TRUE | Add 5 of each index making sure to note the well it came from and placed in |  |  |  | TRUE |  | 68.75
! | TRUE | Add 7.5 of amplified cleaned DNA from PCR 1 |  |  |  | TRUE
| TRUE | Mix either by pipetting or seal plate vortex/mix mate briefly then spin down |  |  |  | TRUE
! | TRUE | Run one of the following protocols on thermocycler depending on the amplicon : |  |  |  | TRUE
! |  | Run on thermocycler using conditions specified by project :
|  | Step | Temperature (°C) | Time | Cycles
|  | Heat Inactivation | 98 | 3 min | 1
|  | Denaturation | 98 | 30 seconds | x18
|  | Annealing | 55 | 30 seconds
|  | Extension | 72 | 30 seconds
|  | Final Extension | 72 | 5 min | 1
|  | Hold | 4 | ∞ | 1
Cleanup 2 :
General notes before starting :
| TRUE | Make sure beads are at room temprature |  |  |  | TRUE
| TRUE | Make fresh 80% ethanol |  |  |  | TRUE
| TRUE | Ensure that there is enough of whichever resuspension solution is being used |  |  |  | TRUE
| TRUE | Check seal and well levels before unsealing and note any anomalies |  |  |  | TRUE
| TRUE | Spin plates from previous step before using |  |  |  | TRUE
| TRUE | If checking straight afterwards get Tapestation reagents out before starting |  |  |  | TRUE
| TRUE | Vortex the beads for 30 seconds to make sure that the beads are evenly dispersed. |  |  |  | TRUE
! | TRUE | Pause and confirm bead volume of next step (specified by amplicon size) : |  |  |  | TRUE
| TRUE | Add 0.8 volume (20ul) of beads and mix by pipetting up and down 10 times (brief vortex and spin is also acceptable) |  |  |  | TRUE
| TRUE | Incubate at room temperature for 5 minutes. |  |  |  | TRUE
| TRUE | Place on the magnetic stand for 5 minutes until the beads are captured and the liquid is clear. |  |  |  | TRUE
| TRUE | Carefully remove the liquid without disturbing the beads. |  |  |  | TRUE
| TRUE | With the plate on the magnetic stand gently wash the beads with 200 µl 80% ethanol. |  |  |  | TRUE
| TRUE | Incubate the plate at room temperature for 30 sec. |  |  |  | TRUE
| TRUE | Remove the ethanol carefully with a pipette and discard. |  |  |  | TRUE
| TRUE | Repeat the wash incubation and removal and ensure all the ethanol has been removed using a P20 or P10. |  |  |  | TRUE
h
| TRUE | Remove the plate from the magnetic stand and allow the beads to dry at room temperature for 3min. |  |  |  | TRUE
| TRUE | Resuspend the dried beads in 22.5 µl 10 mM Tris pH 8.0. |  |  |  | TRUE
| TRUE | Incubate the plate at room temperature for 2 minutes |  |  |  | TRUE
| TRUE | Place on the magnetic stand for 5 minutes until the beads are captured and the liquid is clear. |  |  |  | TRUE
| TRUE | Transfer 20ul of the supernatant to a new RED plate and add plate number to LIMS sheet |  |  |  | TRUE
Library checking :
Tapestation : Use D1000
| TRUE | Combine 3ul of buffer with 1ul of purified library |  |  |  | TRUE
| TRUE | Run using an electronic ladder |  |  |  | TRUE
| TRUE | Paste labeled gel image to the right -> |  |  |  | TRUE
Promega :
| TRUE | Follow SOP on sharepoint |  |  |  | TRUE
| TRUE | Input results into promega workbook |  |  |  | TRUE
| TRUE | Record below : |  |  |  | TRUE
| TRUE |  |  |  |  | TRUE

## Plate Map
Record Plate Map Below :
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G

## LIMS
plate | well | project | sample_name | group_name | i7_index_name | i7_index_seq | i5_index_name | i5_index_seq | final_ba_peak | final_ba_conc | qpcr_concentration | ts_concentration | accepted_concentration
317 | A1 | 11738 | BRUV1_1 | L1 | UDP0001 | GAACTGAGCG |  | TCGTGGAGCG | 340 |  |  | 68.94 | 307.2193 | ng/ul | nM
317 | B1 | 11738 | BRUV1_2 | L1 | UDP0002 | AGGTCAGATA |  | CTACAAGATA | 340 |  |  | 64.19 | 286.0517
317 | C1 | 11738 | BRUV1_3 | L1 | UDP0003V3 | CGACATCCGA |  | TACGTTCATT | 340 |  |  | 81.25 | 362.0766
317 | D1 | 11738 | BRUV2_1 | L1 | UDP0004 | ATTCCATAAG |  | TGCCTGGTGG | 340 |  |  | 9.33 | 41.5775
317 | E1 | 11738 | BRUV2_2 | L1 | UDP0005V3 | CACAATAGGA |  | TCCATCCGAG | 340 |  |  | 20.31 | 90.508
317 | F1 | 11738 | BRUV2_3 | L1 | UDP0006 | AACATCGCGC |  | GTCCACTTGT | 340 |  |  | 14.46 | 64.4385
317 | G1 | 11738 | BRUV3_1 | L1 | UDP0007 | CTAGTGCTCT |  | TGGAACAGTA | 340 |  |  | 21.07 | 93.8948
317 | H1 | 11738 | BRUV3_2 | L1 | UDP0008 | GATCAAGGCA |  | CCTTGTTAAT | 340 |  |  | 26.91 | 119.9198
317 | A2 | 11738 | BRUV3_3 | L1 | UDP0009 | GACTGAGTAG |  | GTTGATAGTG | 340 |  |  | 12.26 | 54.6346
317 | B2 | 11738 | BRUV4_1 | L1 | UDP0010 | AGTCAGACGA |  | ACCAGCGACA | 340 |  |  | 53.76 | 239.5722
317 | C2 | 11738 | BRUV4_2 | L1 | UDP0011 | CCGTATGTTC |  | CATACACTGT | 340 |  |  | 40.84 | 181.9964
317 | D2 | 11738 | BRUV4_3 | L1 | UDP0012 | GAGTCATAGG |  | GTGTGGCGCT | 340 |  |  | 29.69 | 132.3084
317 | E2 | 11738 | BRUV5_1 | L1 | UDP0013 | CTTGCCATTA |  | ATCACGAAGG | 340 |  |  | 59.03 | 263.057
317 | F2 | 11738 | BRUV5_2 | L1 | UDP0014 | GAAGCGGCAC |  | CGGCTCTACT | 340 |  |  | 52.94 | 235.918
317 | G2 | 11738 | BRUV5_3 | L1 | UDP0015 | TCCATTGCCG |  | GAATGCACGA | 340 |  |  | 54.44 | 242.6025
317 | H2 | 11738 | S1_1 | L1 | UDP0016 | CGGTTACGGC |  | AAGACTATAG | 340 |  |  | 1.4 | 6.2389
317 | A3 | 11738 | S1_2 | L1 | UDP0017 | GAGAATGGTT |  | TCGGCAGCAA | 340 |  |  | 1.22 | 5.4367
317 | B3 | 11738 | S1_3 | L1 | UDP0018 | AGAGGCAACC |  | CTAATGATGG | 340 |  |  | 1.09 | 4.8574
317 | C3 | 11738 | S10_1 | L1 | UDP0019 | CCATCATTAG |  | GGTTGCCTCT | 340 |  |  | 0.37 | 1.6488
317 | D3 | 11738 | S10_2 | L1 | UDP0020 | GATAGGCCGA |  | CGCACATGGC | 340 |  |  | 8.02 | 35.7398
317 | E3 | 11738 | S10_3 | L1 | UDP0021 | ATGGTTGACT |  | GGCCTGTCCT | 340 |  |  | 0.47 | 2.0945
317 | F3 | 11738 | S11_1 | L1 | UDP0022 | TATTGCGCTC |  | CTGTGTTAGG | 340 |  |  | 0.1 | 0.44563
317 | G3 | 11738 | S11_2 | L1 | UDP0023 | ACGCCTTGTT |  | TAAGGAACGT | 340 |  |  | 0.21 | 0.93583
317 | H3 | 11738 | S11_3 | L1 | UDP0024 | TTCTACATAC |  | CTAACTGTAA | 340 |  |  | 0.18 | 0.80214
317 | A4 | 11738 | S12_1 | L1 | UDP0025 | AACCATAGAA |  | GGCGAGATGG | 340 |  |  | 0.09 | 0.40107
317 | B4 | 11738 | S12_2 | L1 | UDP0026 | GGTTGCGAGG |  | AATAGAGCAA | 340 |  |  | 0.2 | 0.89127
317 | C4 | 11738 | S12_3 | L1 | UDP0027 | TAAGCATCCA |  | TCAATCCATT | 340 |  |  | 0.65 | 2.8966
317 | D4 | 11738 | S13_1 | L1 | UDP0028 | ACCACGACAT |  | TCGTATGCGG | 340 |  |  | 3.56 | 15.8645
317 | E4 | 11738 | S13_2 | L1 | UDP0029 | GCCGCACTCT |  | TCCGACCTCG | 340 |  |  | 6.82 | 30.3922
317 | F4 | 11738 | S13_3 | L1 | UDP0030 | CCACCAGGCA |  | CTTATGGAAT | 340 |  |  | 0.59 | 2.6292
317 | G4 | 11738 | S14_1 | L1 | UDP0031 | GTGACACGCA |  | GCTTACGGAC | 340 |  |  | 0.74 | 3.2977
317 | H4 | 11738 | S14_2 | L1 | UDP0032 | ACAGTGTATG |  | GAACATACGG | 340 |  |  | 0.15 | 0.66845
317 | A5 | 11738 | S14_3 | L1 | UDP0033 | TGATTATACG |  | GTCGATTACA | 340 |  |  | 0.29 | 1.2923
317 | B5 | 11738 | S15_1 | L1 | UDP0034 | CAGCCGCGTA |  | ACTAGCCGTG | 340 |  |  | 1.91 | 8.5116
317 | C5 | 11738 | S15_2 | L1 | UDP0035 | GGTAACTCGC |  | AAGTTGGTGA | 340 |  |  | 3.22 | 14.3494
317 | D5 | 11738 | S15_3 | L1 | UDP0036 | ACCGGCCGTA |  | TGGCAATATT | 340 |  |  | 5.26 | 23.4403
317 | E5 | 11738 | S16_1 | L1 | UDP0037 | TGTAATCGAC |  | GATCACCGCG | 340 |  |  | 0.86 | 3.8324
317 | F5 | 11738 | S16_2 | L1 | UDP0038 | GTGCAGACAG |  | TACCATCCGT | 340 |  |  | 0.18 | 0.80214
317 | G5 | 11738 | S16_3 | L1 | UDP0039 | CAATCGGCTG |  | GCTGTAGGAA | 340 |  |  | 0.15 | 0.66845
317 | H5 | 11738 | S2_1 | L1 | UDP0040 | TATGTAGTCA |  | CGCACTAATG | 340 |  |  | 0.64 | 2.852
317 | A6 | 11738 | S2_2 | L1 | UDP0041 | ACTCGGCAAT |  | GACAACTGAA | 340 |  |  | 0.45 | 2.0053
317 | B6 | 11738 | S2_3 | L1 | UDP0042 | GTCTAATGGC |  | AGTGGTCAGG | 340 |  |  | 0.57 | 2.5401
317 | C6 | 11738 | S3_1 | L1 | UDP0043 | CCATCTCGCC |  | TTCTATGGTT | 340 |  |  | 0.29 | 1.2923
317 | D6 | 11738 | S3_2 | L1 | UDP0044 | CTGCGAGCCA |  | AATCCGGCCA | 340 |  |  | 0.14 | 0.62389
317 | E6 | 11738 | S3_3 | L1 | UDP0045 | CGTTATTCTA |  | CCATAAGGTT | 340 |  |  | 0.43 | 1.9162
317 | F6 | 11738 | S4_1 | L1 | UDP0046V3 | GCAACATGGA |  | CTTGTCTTAA | 340 |  |  | 0.47 | 2.0945
317 | G6 | 11738 | S4_2 | L1 | UDP0047 | GTCCTGGATA |  | CGGTGGCGAA | 340 |  |  | 0.32 | 1.426
317 | H6 | 11738 | S4_3 | L1 | UDP0048 | CAGTGGCACT |  | TAACAATAGG | 340 |  |  | 0.32 | 1.426
317 | A7 | 11738 | S5_1 | L1 | UDP0049 | AGTGTTGCAC |  | CTGGTACACG | 340 |  |  | 2.29 | 10.205
317 | B7 | 11738 | S5_2 | L1 | UDP0050 | GACACCATGT |  | TCAACGTGTA | 340 |  |  | 2.5 | 11.1408
317 | C7 | 11738 | S5_3 | L1 | UDP0051 | CCTGTCTGTC |  | ACTGTTGTGA | 340 |  |  | 0.66 | 2.9412
317 | D7 | 11738 | S6_1 | L1 | UDP0052 | TGATGTAAGA |  | GTGCGTCCTT | 340 |  |  | 1.24 | 5.5258
317 | E7 | 11738 | S6_2 | L1 | UDP0053V3 | TAGTTCGGTA |  | CCATGTGTAG | 340 |  |  | 1.34 | 5.9715
317 | F7 | 11738 | S6_3 | L1 | UDP0054V3 | CTATTACTAC |  | GAGTCTCTCC | 340 |  |  | 0.82 | 3.6542
317 | G7 | 11738 | S7_1 | L1 | UDP0055V3 | TAGCATAACC |  | GCTATGCGCA | 340 |  |  | 2.63 | 11.7201
317 | H7 | 11738 | S7_2 | L1 | UDP0056V3 | ACTCTATTGT |  | ATCGCATATG | 340 |  |  | 0.56 | 2.4955
317 | A8 | 11738 | S7_3 | L1 | UDP0057 | TCTATCCTAA |  | CGTCGACTGG | 340 |  |  | 0.57 | 2.5401
317 | B8 | 11738 | S8_1 | L1 | UDP0058 | CTCGCTTCGG |  | TACTAGTCAA | 340 |  |  | 48.37 | 215.5526
317 | C8 | 11738 | S8_2 | L1 | UDP0059 | CTGTTGGTCC |  | ATAGACCGTT | 340 |  |  | 13.8 | 61.4973
317 | D8 | 11738 | S8_3 | L1 | UDP0060 | TTACCTGGAA |  | ACAGTTCCAG | 340 |  |  | 25.71 | 114.5722
317 | E8 | 11738 | S9_1 | L1 | UDP0061 | TGGCTAATCA |  | AGGCATGTAG | 340 |  |  | 0.55 | 2.451
317 | F8 | 11738 | S9_2 | L1 | UDP0062 | AACACTGTTA |  | GCAAGTCTCA | 340 |  |  | 5.58 | 24.8663
317 | G8 | 11738 | S9_3 | L1 | UDP0063 | ATTGCGCGGT |  | TTGGCTCCGC | 340 |  |  | 10.77 | 47.9947
317 | H8 | 11738 | EB1 | L1 | UDP0064 | TGGCGCGAAC |  | AACTGATACT | 340 |  |  | 0.92 | 4.0998
317 | A9 | 11738 | EB2 | L1 | UDP0065 | TAATGTGTCT |  | GTAAGGCATA | 340 |  |  | 0.06 | 0.26738
317 | B9 | 11738 | EB3 | L1 | UDP0066 | ATACCAACGC |  | AATTGCTGCG | 340 |  |  | 0.11 | 0.4902
317 | C9 | 11738 | EB4 | L1 | UDP0067 | AGGATGTGCT |  | TTACAATTCC | 340 |  |  | 0.14 | 0.62389
317 | D9 | 11738 | A0_1 | L1 | UDP0068 | CACGGAACAA |  | AACCTAGCAC | 340 |  |  | 0.08 | 0.35651
317 | E9 | 11738 | A0_2 | L1 | UDP0069V3 | CCAAGGCCTT |  | TCGAAGTACT | 340 |  |  | 0.08 | 0.35651
317 | F9 | 11738 | A0_3 | L1 | UDP0070V3 | TTACTCCACA |  | GACACCGATG | 340 |  |  | 0.06 | 0.26738
317 | G9 | 11738 | A0_4 | L1 | UDP0071V3 | AGTAGAAGTG |  | CTAGCGTCGA | 340 |  |  | 0.11 | 0.4902
317 | H9 | 11738 | A1_1 | L1 | UDP0072V3 | TACGAGTCCA |  | TAGCGAAGCA | 340 |  |  | 0.38 | 1.6934
317 | A10 | 11738 | A1_2 | L1 | UDP0073V3 | TCTCATGATA |  | AACACGTGGA | 340 |  |  | 3 | 13.369
317 | B10 | 11738 | A1_3 | L1 | UDP0074V3 | CGAGGCCAAG |  | GTGTTACCGG | 340 |  |  | 0.13 | 0.57932
317 | C10 | 11738 | A1_4 | L1 | UDP0075V3 | TTCACGAGAC |  | AGATTGTTAC | 340 |  |  | 0.5 | 2.2282
317 | D10 | 11738 | A2_1 | L1 | UDP0076V3 | GCGTGGATGG |  | TTGACCAATG | 340 |  |  | 1.66 | 7.3975
317 | E10 | 11738 | A2_2 | L1 | UDP0077 | TCTGGTATCC |  | CGTTGCTTAC | 340 |  |  | 0.16 | 0.71301
317 | F10 | 11738 | A2_3 | L1 | UDP0078 | CATTAGTGCG |  | TGACTACATA | 340 |  |  | 0.19 | 0.8467
317 | G10 | 11738 | A2_4 | L1 | UDP0079 | ACGGTCAGGA |  | CGGCCTCGTT | 340 |  |  | 2.54 | 11.3191
317 | H10 | 11738 | A4_1 | L1 | UDP0080 | GGCAAGCCAG |  | CAAGCATCCG | 340 |  |  | 0.1 | 0.44563
317 | A11 | 11738 | A4_2 | L1 | UDP0081 | TGTCGCTGGT |  | TCGTCTGACT | 340 |  |  | 0.07 | 0.31194
317 | B11 | 11738 | A4_3 | L1 | UDP0082 | ACCGTTACAA |  | CTCATAGCGA | 340 |  |  | 1.05 | 4.6791
317 | C11 | 11738 | A4_4 | L1 | UDP0083 | TATGCCTTAC |  | AGACACATTA | 340 |  |  | 0.68 | 3.0303
317 | D11 | 11738 | A8_1 | L1 | UDP0084V3 | ACTGGATCTA |  | TCGCCGCTAG | 340 |  |  | 0.84 | 3.7433
317 | E11 | 11738 | A8_2 | L1 | UDP0085 | TGGTACCTAA |  | CATGAGTACT | 340 |  |  | 0.82 | 3.6542
317 | F11 | 11738 | A8_3 | L1 | UDP0086 | TTGGAATTCC |  | ACGTCAATAC | 340 |  |  | 0.66 | 2.9412
317 | G11 | 11738 | A8_4 | L1 | UDP0087 | CCTCTACATG |  | GATACCTCCT | 340 |  |  | 1.56 | 6.9519
317 | H11 | 11738 | FR0_1 | L1 | UDP0088 | GGAGCGTGTA |  | ATCCGTAAGT | 340 |  |  | 0.15 | 0.66845
317 | A12 | 11738 | FR0_2 | L1 | UDP0089 | GTCCGTAAGC |  | CGTGTATCTT | 340 |  |  | 0.07 | 0.31194
317 | B12 | 11738 | FR0_3 | L1 | UDP0090 | ACTTCAAGCG |  | GAACCATGAA | 340 |  |  | 0.33 | 1.4706
317 | C12 | 11738 | FR0_4 | L1 | UDP0091 | TCAGAAGGCG |  | GGCCATCATA | 340 |  |  | 0.23 | 1.025
317 | D12 | 11738 | FR1_1 | L1 | UDP0092 | GCGTTGGTAT |  | ACATACTTCC | 340 |  |  | 0.4 | 1.7825
317 | E12 | 11738 | FR1_2 | L1 | UDP0093 | ACATATCCAG |  | TATGTGCAAT | 340 |  |  | 0.24 | 1.0695
317 | F12 | 11738 | FR1_3 | L1 | UDP0094 | TCATAGATTG |  | GATTAAGGTG | 340 |  |  | 0.38 | 1.6934
317 | G12 | 11738 | Zebra_1 | L1 | UDP0095 | GTATTCCACC |  | ATGTAGACAA | 340 |  |  | 83.08 | 370.2317
317 | H12 | 11738 | Neg_1 | L1 | UDP0096 | CCTCCGTCCA |  | CACATCGGTG | 340 |  |  | 0.07 | 0.31194
plate | well | project | sample_name | group_name | i7_index_name | i7_index_seq | i5_index_name | i5_index_seq | final_ba_peak | final_ba_conc | qpcr_concentration | ts_concentration | accepted_concentration
148 | A1 | 11738 | FR2_1 | L1 | UDP0241 | TGAACGCGGA |  | CTTCGAAGGA | 360 |  |  | 0.46991 | 1.9777
148 | B1 | 11738 | FR2_2 | L1 | UDP0242V3 | AAGAGAGTCT |  | TACGAATCTT | 360 |  |  | 0.24097 | 1.0142
148 | C1 | 11738 | FR2_3 | L1 | UDP0243 | TTCATGGTTC |  | GACATTGTCA | 360 |  |  | 0.32392 | 1.3633
148 | D1 | 11738 | FR2_4 | L1 | UDP0244V3 | CTCTCGGCTA |  | TACCAGATCT | 360 |  |  | 0.3388 | 1.4259
148 | E1 | 11738 | FR4_1 | L1 | UDP0245 | CACTAGACCA |  | ACTGCCTTAT | 360 |  |  | 0.16005 | 0.67359
148 | F1 | 11738 | FR4_2 | L1 | UDP0246 | ATTATCCACT |  | TACGCACGTA | 360 |  |  | 0.22729 | 0.95659
148 | G1 | 11738 | FR4_3 | L1 | UDP0247 | ATGGCGTGCC |  | CGCTTGAAGT | 360 |  |  | 0.17638 | 0.74232
148 | H1 | 11738 | FR4_4 | L1 | UDP0248 | TCCAGAGATC |  | CTGCACTTCA | 360 |  |  | 0.25259 | 1.0631
148 | A2 | 11738 | FR8_1 | L1 | UDP0249 | ATGTCCAGCA |  | CAGCGGACAA | 360 |  |  | 0.36448 | 1.534
148 | B2 | 11738 | FR8_2 | L1 | UDP0250 | CAACGTTCGG |  | GGATCCGCAT | 360 |  |  | 0.26342 | 1.1087
148 | C2 | 11738 | FR8_3 | L1 | UDP0251 | GCGTATTAAT |  | TGCGGTGTTG | 360 |  |  | 0.30892 | 1.3002
148 | D2 | 11738 | FR8_4 | L1 | UDP0252V2 | CCGAATCTGG |  | ATGAATCAAG | 360 |  |  | 0.74442 | 3.1331
148 | E2 | 11738 | B1 | L1 | UDP0253 | TCTCAATACC |  | GACGTTCGCG | 360 |  |  | 0.235 | 0.98904
148 | F2 | 11738 | B2 | L1 | UDP0254 | AAGCATCTTG |  | CATTCAACAA | 360 |  |  | 0.20218 | 0.85093
148 | G2 | 11738 | B8 | L1 | UDP0255 | TCAGTCTCGT |  | CACGGATTAT | 360 |  |  | 0.23532 | 0.99041
148 | H2 | 11738 | B4 | L1 | UDP0256V3 | GTATAGAACA |  | TGTCACAGGA | 360 |  |  | 0.18198 | 0.76591
148 | A3 | 11738 | B01 | L1 | UDP0257 | GTAACAATCT |  | CTCTGTATAC | 360 |  |  | 0.30147 | 1.2688
148 | B3 | 11569 | SK_V1 | L1 | UDP0258V2 | CCATGGTATA |  | TCTCGCGGAG | 360 |  |  | 1.0638 | 4.4771
148 | C3 | 11569 | SK_V2 | L1 | UDP0259 | TCATACCGTT |  | GGTAACGCAG | 360 |  |  | 0.99041 | 4.1684
148 | D3 | 11569 | SK_V3 | L1 | UDP0260 | GGCGCCATTG |  | ACCGCGCAAT | 360 |  |  | 1.4827 | 6.2403
148 | E3 | 11569 | SK_VC | L1 | UDP0261 | AGCGAATTAG |  | AGCCGGAACA | 360 |  |  | 0.19741 | 0.83084
148 | F3 | 11569 | SK_L1 | L1 | UDP0262 | TTAGACCATG |  | TCCTAGGAAG | 360 |  |  | 0.15605 | 0.65679
148 | G3 | 11569 | SK_L2 | L1 | UDP0263 | CACACAGTAT |  | TTGAGCCTAA | 360 |  |  | 0.59496 | 2.504
148 | H3 | 11569 | SK_L3 | L1 | UDP0264 | TCTTGTCGGC |  | CCACCTGTGT | 360 |  |  | 0.17778 | 0.74823
148 | A4 | 11569 | SK_LC | L1 | UDP0265V3 | CTAACCGAGA |  | TCGATGCGCG | 360 |  |  | 0.3887 | 1.636
148 | B4 | 11569 | SK_H1 | L1 | UDP0266V3 | AGTGTCTAGG |  | CCTAGAAGCA | 360 |  |  | 11.7816 | 49.5858
148 | C4 | 11569 | SK_H2 | L1 | UDP0267V3 | GAGGAGCTTC |  | GACGTATACA | 360 |  |  | 22.7701 | 95.8339
148 | D4 | 11569 | SK_H3 | L1 | UDP0268V3 | TCATCTACTA |  | TAGGCGACTT | 360 |  |  | 2.5567 | 10.7607
148 | E4 | 11569 | SK_HC | L1 | UDP0269 | GTAGGCGAGC |  | TAGGAGCGCA | 360 |  |  | 0.22088 | 0.92963
148 | F4 | 11569 | SK_A1 | L1 | UDP0270 | AACTTATCCT |  | GTACTGGCGT | 360 |  |  | 0.95772 | 4.0308
148 | G4 | 11569 | SK_A2 | L1 | UDP0271 | ATTATGTCTC |  | AGTTAAGAGC | 360 |  |  | 0.15588 | 0.65606
148 | H4 | 11569 | SK_A3 | L1 | UDP0272 | TATAACAGCT |  | TCGCGTATAA | 360 |  |  | 0.59763 | 2.5153
148 | A5 | 11569 | SK_AC | L1 | UDP0273 | CCAATGATAC |  | GAGTGTGCCG | 360 |  |  | 1.1288 | 4.751
148 | B5 | 11569 | SK_F1 | L1 | UDP0274 | GAGGCCTATT |  | CTAGTCCGGA | 360 |  |  | 12.8444 | 54.0591
148 | C5 | 11569 | SK_F2 | L1 | UDP0275 | AGCTAAGCGG |  | ATTAATACGC | 360 |  |  | 7.7045 | 32.4264
148 | D5 | 11569 | SK_F3 | L1 | UDP0276 | CTTCCTAGGA |  | CCTAGAGTAT | 360 |  |  | 14.4269 | 60.7191
148 | E5 | 11569 | SK_FC | L1 | UDP0277 | CGATCTGTGA |  | TAGGAAGACT | 360 |  |  | 0.3842 | 1.617
148 | F5 | 11569 | SK_M1 | L1 | UDP0278 | GTGGACAAGT |  | CCGTGGCCTT | 360 |  |  | 5.842 | 24.5877
148 | G5 | 11569 | SK_M2 | L1 | UDP0279 | AACAAGTACA |  | GGATATATCC | 360 |  |  | 7.0258 | 29.5699
148 | H5 | 11569 | SK_M3 | L1 | UDP0280 | AGATTAAGTG |  | CACCTCTTGG | 360 |  |  | 6.2816 | 26.4379
148 | A6 | 11569 | SK_MC | L1 | UDP0281 | TATCACTCTG |  | AACGTTACAT | 360 |  |  | 0.51181 | 2.1541
148 | B6 | 11738 | FR1_4 | L1 | UDP0282 | AGAATTCGCC |  | CGGCAAGCTC | 360 |  |  | 0.33379 | 1.4049
148 | C6 | 11738 | Zebra_2 | L1 | UDP0283 | CCTGACCACT |  | TCTTGGCTAT | 360 |  |  | 22.0608 | 92.8484
148 | D6 | 11738 | Neg_2 | L1 | UDP0284 | AGCTGGAATG |  | ACGGAATGCG | 360 |  |  | 0.41647 | 1.7528